## Outdoor Cables
99 |  | Total/Subtotal |  | 477513 |  | 24086.999
Item | Product Group | TypeCode | SAP no. | cable meter | AFC | cckm | Fiber | Comments/Customer/Printing
1 | Loose Tube | A-DF(ZN)2Y(SR)2Y 6x4E9/1 | 147685 | 3037 | 24 | 72.888 | SMF | Printing: M#H#S#E#S#H#S#E#S#H#S#E#S#H#S#E#S#H#S#E#S#; Customers: DB, ARCOR, Alcatel
2 | MPC | A-DQ(BN)H 1X8G62,5/125 | 173193 | 9855 | 8 | 78.84 | MMF | PN Standard; Printing:#M#H#S#+CORNING#+FutureLink / MPC
3 | Central Tube | A-DQ(ZN)(SR)H 1X4G62,5/12 | 173661 | 217 | 4 | 0.868 | MMF | Printing:#M#CORNING#S#4G62,5-Armored NL/241 Var.2
4 | Loose tube | A-DQ(ZN)(SR)2Y 1X8G62 | 181880 | 1149 | 36 | 41.364 | MMF | Printing:#M#S# CORNING, 8G62,5-Armored Customer: Anixter
5 | Central Tube | A-DQ(BN)H 1X(12G50L/125 | 188243 | 421 | 12 | 5.052 | MMF | Printing:#M#H#S#+CORNING; Customer:PN Standard
6 | Loose tube | A-DF(ZN)2Y 3X10E9 | 189273 | 2460 | 30 | 73.8 | SMF | Printing: #M#+TELEKOM AUSTRIA#H#+LWL#S#+length no.#+CORNING+manufacturing year Customer: Telekom Austria
7 | Loose tube | A-DQ(BN)H 3X12G62,5/125 | 190766 | 518 | 8 | 4.144 | MMF | Printing:#M#(#S#H#+SIEMENS#+Future Link+A-DQ(BN)H 3x12G62/125); Customer:PN Standard
8 | Loose tube | A-DF(ZN)2Y 6X10E9 | 191588 | 5617 | 60 | 337.02 | SMF | Printing: #M#+TELEKOM AUSTRIA#H#+LWL#S#+length no.#+CORNING+manufacturing year Customer: Telekom Austria
9 | Loose tube | A-DF(ZN)2Y 8X12E9 | 192513 | 1000 | 96 | 96 | SMF | Printing: #M#+Jahr#+TELEKABEL#+LWL#+CORNING Customer: Telekabel Wien, Austria
10 | Central Tube | A-D(ZN)99Y2Y 1X2G62,5/125 | 192526 | 20490 | 2 | 40.98 | MMF | Customer: PN/SKM
11 | Loose Tube | A-DQ(ZN)H 4X12E9/125 | 192564 | 667 | 48 | 32.016 | SMF | Anixter Printing:#M#(#H#S#+CORNING#+Future Link+VDE-Code Standard Cable
12 | Loose Tube | A-DF(ZN)(SR)2Y 8X12E10/125 | 195027 | 4629 | 96 | 444.384 | LEAF | Customer: Telecom Italia; Special Printing
13 | Central Tube | A-DQ(BN)H 1X4G62,5/125 | 195093 | 2080 | 4 | 8.32 | MMF | Printing:#M#S#CORNING#FutureLink/MPC# +type desciption Customer:PN Standard
14 | Central Tube | A-DQ(BN)H 1X6G62,5/125 | 195094 | 1344 | 6 | 8.064 | MMF | Printing:#M#S#CORNING#FutureLink/MPC# +type desciption Customer:PN Standard
15 | Central Tube | A-DQ(BN)H 1X8G62,5/125 | 195095 | 377 | 8 | 3.016 | MMF | Printing:#M#S#CORNING#FutureLink/MPC# +type desciption Customer:PN Standard
16 | Loose Tube | A-DF(ZN)2Y 6X4E9/125 | 195924 | 790 | 24 | 18.96 | SMF | Printing:#M#+A-DF(ZN)2Y 24E9/125
17 | Loose tube | A-DQ(ZN)H 5X4E9 | 196044 | 2877 | 20 | 57.54 | SMF | Printing: #M#+DrBld:NL/370 Var.4 Customer: Telekom Austria
18 | Loose Tube | A-DQ(BN)2Y 12X12E9E/125 | 197217 | 2194 | 144 | 315.936 | SMF | Printing:#M#H#S#+E#+EKU Customer: E K U
19 | Loose Tube | A-DF(ZN)2Y 6X12 E9/125 | 198980 | 5002 | 72 | 360.144 | SMF | Customer: KomTel Printing:#M#H#S#CORNING#
20 | Loose Tube | 48f leaf non-metallic duct cab | 199202 | 23415 | 48 | 1123.92 | LEAF | Printing: COLT
21 | Central Tube | A-DQ(ZN)H 1X12G50L/125 | 199308 | 1270 | 12 | 15.24 | MMF | Printing:#M#S#+CORNING#+FutureLink/MPC LasePrinting:#+A-DQ(ZN)H 1X12G50/125 InfiniCor Printing:GbE 600/600 meter at 850/1300 nm
22 | Loose tube | A-DQ(ZN)H 2X12G62,5L/125 | 199331 | 1800 | 24 | 43.2 | MMF | Printing:#M#S#+CORNING#+FutureLink/MPC LasePrinting:#+A-DQ(ZN)H 2X12G62,5/125 InfiniCoPrinting:GbE 300/550 meter at 850/1300 nm
23 | Loose tube | A-DQ(BN)H 6X12G50L/125 | 199519 | 281 | 72 | 20.232 | MMF | Printing:#M#S#+CORNING#+FutureLink/MPC LasePrinting:#+A-DQ(BN)H 6X12G50/125 InfiniCor Printing:GbE 600/600 meter at 850/1300 nm
24 | Loose tube | A-DQ(BN)H 4X6G50L/125 | 200369 | 887 | 24 | 21.288 | MMF | Printing:#M#S#+CORNING#+FutureLink/MPC LasePrinting:#+A-DQ(BN)H 4X6G50/125 InfiniCor 6Printing:GbE 600/600 meter at 850/1300 nm
25 | MPC | A-DQ(BN)H 3X12E9/125 | 200835 | 1182 | 36 | 42.552 | SMF | Printing:meter+(twin-sine+ "CORNING FutureLink/MPC"+ A-DQ(BN)H 3x12E9/125) 2x
26 | Loose Tube | A-DQ(ZN)2Y(SR)2YT2Y 8X12E | 201180 | 2992 | 96 | 287.232 | SMF | Printing:#M#+CABOVISAO#+CORNING#
27 | Aerial/A-DLash | ADL-D2Y 1X24E9/125 0,36F | 201694 | 3536 | 24 | 84.864 | SMF | Printing:#M# Customer: CE/Standard
28 | Loose tube | A-DF(ZN)2Y(SR)2Y 6X2E9 | 202093 | 930 | 12 | 11.16 | SMF | ARCOR spec. Customer: Arcor, DB Com
29 |  | W-G50/125 3B400 + 1F600 B | 202096 | 8625 | 1 | 8.625 | MMF | Customer: Cabovisao print-design#:NL/ Var. Printing:#M#+CABOVISAO#+CORNING#
30 | Loose Tube | A-DSQ(L)2Y 6X8E9/125 | 202859 | 14070 | 48 | 675.36 | SMF | Printing:#M#+LaserSymbol#H#+C&W#+T 0504#+04Customer: Cable & Wireless
31 | Loose Tube | A-DSQ(L)2Y 3X8E9/125 | 250165 | 11226 | 24 | 269.424 | SMF | Printing:#M#+LaserSymbol#H#+C&W#+T 0504#+02Customer: Cable & Wireless
32 | Loose Tube | A-DSQ(L)2Y 12X8E9/125 | 250242 | 8046 | 96 | 772.416 | SMF | Printing:#M#+LaserSymbol#H#+C&W#+T 0504#+09Customer: Cable & Wireless
33 | Loose Tube | A-DQ(ZN)2Y 24X12 E9/125 | 250456 | 20528 | 288 | 5912.064 | SMF | Customer: Ish/ConliNet
34 | Central Tube | A-D(ZM)(SR)2Y 1X16E9 | 280590 | 606 | 16 | 9.696 | SMF | Printing: #M#H#S#+CORNING#+year Customer: KVAZAR
35 | Loose Tube | A-DQ(ZN)2Y 2X12 E9/125 | 280760 | 2799 | 24 | 67.176 | SMF | Customer: Ish/ConliNet
36 | Loose Tube | A-DQ(ZN)H 1X6E9/125 | 281230 | 859 | 6 | 5.154 | SMF | Printing: meter+twin-sine+CORNING FutureLink/MPC Laser Optimized
37 | Loose Tube | A-DQ(ZN)2Y 12X12E9/125 | 281396 | 992 | 144 | 142.848 | SMF | Printing:#M#H#S#+CORNING#+year Customer: Autopistas Spain
38 | Loose tube | A-DQ(BN)H 1X(8G50L/125 | 281434 | 1222 | 8 | 9.776 | MMF | Customer:PN Standard
39 | Central Tube | A-D(ZM)(SR)2Y 1X24E10/125 | 282192 | 40974 | 24 | 983.376 | LEAF | Customer: India Reliance
40 | Aerial/ADSS | A-D(T)H 1X12E9/125 7,2 mm² | 282321 | 737 | 12 | 8.844 | SMF | Printing: #M#DOK ZSR A-D(T)H1x12E9/125 CORNING
41 | Loose Tube | A-DQ(BN)2Y 5X12E9/125 | 283826 | 356 | 60 | 21.36 | SMF | Customer: TeleMedia; Printing: #M#H#S#E#S#
42 | CT / MiniXtend | A-DF(ZN)2Y 1x24E9/125 | 284005 | 538 | 24 | 12.912 | SMF | Printing: #M#H#S#CORNING#Year(2003)
43 | Central Tube | A-D(ZM)(SG)2Y 1X24E10/125 | 284330 | 58946 | 24 | 1414.704 | LEAF | Customer: India Reliance; special printing
44 | Central Tube | A-D(ZM)(SG)2Y 1X48E9/125 | 284333 | 20757 | 48 | 996.336 | SMF | Customer: India Reliance; special printing
45 | CT / MiniXtend | A-DF(ZN)2Y 1x72E9/125 | 284334 | 507 | 72 | 36.504 | SMF | Printing: #M#H#S#CORNING#Year(2003)
46 | Aerial/ADSS | A-D(T)H 1X24E9/125 7,2 mm² | 284526 | 485 | 24 | 11.64 | SMF | Printing: #M#H#+FO A-D(T)H 1x24E9/125 CORNING MOBIFON
47 | Central Tube | A-DQ(BN)2Y 1X8G50/125 | 284707 | 1400 | 8 | 11.2 | MMF | Printing:meter+twin-sine+ CORNING+FutureLink/MPC+LASER OPTIMIZED+ A-DQ(BN)H 8x12G50/125 InfiniCor600 fibermeter at 850/1300 nm
48 | Loose Tube | A-DF(ZN)2Y 2X12+1X4E9/125 | 285282 | 14809 | 30 | 444.27 | SMF+LEAF | Printing:#M#+A-DF(ZN)2Y-30-(28SMF+2LEAF)#+CPrinting:year(2002)#+EUROTRANSTELECOM
49 | CT / MiniXtend | A-D(ZN)2Y 1X72E9/125 | 285362 | 14866 | 72 | 1070.352 | SMF | Printing:#M#H#S#+CORNING#+year(2003)
50 | Central Tube | A-DQ(BN)2Y 1X24G50SX+/125 | 290247 | 420 | 24 | 10.08 | MMF | Printing:NL/390 Var.5 Printing:#M#H#S#CORNING#year#
51 | Loose tube | A-DQ(ZN)2Y 9X12E10/125 + 1x12E9 | 290467 | 7288 | 120 | 874.56 | LEAF+SMF | Printing: #M#H#S#+COLT Telekom AG / LDCom Customer: COLT
52 | Loose Tube | A-DF(ZN)2Y4Y 2X12E9/125 | 290511 | 3012 | 24 | 72.288 | SMF | Customer: E V N , Austria Printing: #M#+CORNING#+Year#BJT2Y4Y 24 SMF#+EVN
53 | Loose tube | A-DQ(ZN)2Y 6x12E9 | 290568 | 2230 | 72 | 160.56 | SMF | Printing: #M#+SNCF#+CO 72 G652#+2242 6.1 / ST 2513.99 2.3#+CORNING#+year Customer: SNFC
54 | Loose Tube | A-DQ(ZN)(SR)H 1X6E9/125 | 290622 | 4888 | 6 | 29.328 | SMF | Printing:#M#+CORNING #+A-DQ(SR)H#+year(2003
55 | Loose tube | A-DF(ZN)2Y 3x4E9 | 290886 | 1826 | 12 | 21.912 | SMF | Printing: #M#+TELEKOM AUSTRIA#H#+LWL#S#+length no.#+CORNING+manufacturing year Customer: Telekom Austria
56 | Loose tube | A-DF(ZN)2Y 2x4E9 | 290889 | 5617 | 8 | 44.936 | SMF | Printing: #M#+TELEKOM AUSTRIA#H#+LWL#S#+length no.#+CORNING+manufacturing year Customer: Telekom Austria
57 | Loose tube | A-DQ(ZN)2Y 5X4E9 | 290967 | 4005 | 20 | 80.1 | SMF | Printing:#M#+A-DQ(ZN)2Y 5x4E9/125#+CORNING#month/yearr# +C.F.R. CABLU OPTIC#+ATENTIE - PERICL RADIAT II Customer: CFR, Romania
58 | Loose Tube | A-DSF(ZN)(L)2Y 4X6E9/125 | 291119 | 1670 | 24 | 40.08 | SMF | Customer: STS print-design#:NL/1 Printing:#M#H#S#E#S#...
59 | Aerial/ADSS | A-D(T)H 1X24E9/125 25 mm² | 291241 | 18269 | 24 | 438.456 | SMF | Customer: Bilcop, Romania Printing: #M#H#+FO A-D(T)H 1x24E9/125 CORNING MOBIFON
60 | Loose tube | A-DSQ2Y(SR)2Y 3x12E9 | 291798 | 470 | 36 | 16.92 | SMF | Printing:#M#+CORNING#+month/year(08/03)+no. of length+OPTICAL CABLE Customer: Bezeq
61 | Loose tube | A-DSQ2Y(SR)2Y 3x12E9 | 291799 | 495 | 96 | 47.52 | SMF | Printing:#M#+CORNING#+month/year(08/03)+no. of length+OPTICAL CABLE Customer: Bezeq
62 | Loose tube | A-DSQ2Y(SR)2Y 3x12E9 | 291810 | 163 | 12 | 1.956 | SMF | Printing:#M#+CORNING#+month/year(08/03)+no. of length+OPTICAL CABLE Customer: Bezeq
63 | CT / MiniXtend | A-DF(ZN)2Y 1x72E9/125 | 291860 | 180 | 72 | 12.96 | SMF | Printing: #M#CORNING OPTICAL CABLE#Monat/year#H#72SME#
64 | Loose Tube | A-DQ(BN)H 10X12E9/125 | 291970 | 14790 | 120 | 1774.8 | SMF | Customer: Siemens Ltd, Bankok Printing:#M#+WCSS#+SM 120 F#+Monat/year#+CORNING
65 | LG / MiniXtend | A-DQ(ZN)2Y 6X12E9 | 292214 | 3997 | 72 | 287.784 | SMF | Printing: #M#H#S#CORNING#year(2004)
66 | Central Tube | A-DQ(BN)H 1X12G62,5L/125 | 292407 | 200 | 12 | 2.4 | MMF | Printing:#M#+CORNING#+year#+128 F.O 10 PKP
67 | Loose Tube | A-DQ(ZN)(SR)2Y 1X4E9/125 | 292408 | 492 | 4 | 1.968 | SMF | Customer: Euisa, Spain Printing: #M#H#S#CORNING#Year(2003)
68 | Aerial/ADSS | A-D(T)H 1X20E9+1x4E10;25mm² | 292523 | 2890 | 2 | 5.78 | SMF+LEAF | no printing
69 | Central Tube | A-DQ(BN)2Y 1X24G50L/125 | 292744 | 509 | 24 | 12.216 | MMF | Printing:#M#+#H#+#S#+CORNING#+year(2003)
70 | Loose tube | A-DQ(BN)H 2X8G50L | 292942 | 418 | 20 | 8.36 | SMF | Printing:#M#H#S#CORNING#year#
71 | Loose Tube | A-DQ2Y(ZN)2Y 2X6E9/125 | 293096 | 5018 | 12 | 60.216 | SMF | Printing:#Special Printing start meter > 10
72 | Loose Tube | A-DQ(ZN)2Y 8X12E10/125 | 293184 | 1120 | 96 | 107.52 | LEAF | Customer: Kingston Communications, U.K. Printing: #M#H#S#CORNING#Year (2004)#Kingston Communications#
73 | Aerial/ADSS | A-D(T)2Y 1X2E9/125, 5,4mm2 | 293209 | 519 | 2 | 1.038 | SMF | Printing: #M#H#S#Corning#year#
74 | Central Tube | A-DQ(ZN)2Y 1X24G50L/125 | 293356 | 390 | 24 | 9.36 | MMF | Printing:#M#+#H#+#S#+CORNING +year
75 | Central Tube | A-DQ(ZN)2Y 1X8E9/125 | 293357 | 1127 | 8 | 9.016 | SMF | Printing:#M#H#S#+CORNING#+year Customer: Rextel
76 | Loose Tube | A-DQ(SR)H 8X12E10/ | 293555 | 4400 | 96 | 422.4 | LEAF | Printing: DrBld.:NL/424 Var. und KZB: NL/423 Customer: Telecom Italia
77 | Loose Tube | A-DQ(ZN)(SR)2Y 2x6E9 | 293682 | 346 | 12 | 4.152 | SMF | Printing:#M#H#S#+CORNING#+year Fiberway
78 | Tube | D.GE 12E9-V/T-1-PBT | 293744 | 1700 | 1 | 1.7 | SMF | without Printing
79 | Central Tube | A-D(ZM)(SG)2Y 1X4E9/125 | 293855 | 2650 | 4 | 10.6 | SMF | Printing:#M#H#S#+A-D(ZM)(SG)2Y 4SM#+year(20
80 | Loose Tube | A-DQ(ZN)(SR)H 4X12E9 | 293946 | 1005 | 48 | 48.24 | SMF | Printing: M#•••T•#S#E#S#H#S#E#S#•••T•#S#E#S#H# Customer: T-Moblile
81 | Central Tube | A-DQ(ZN)H(SR)H 1X4G62,5/1 | 293980 | 714 | 4 | 2.856 | MMF | Printing:#M#H#S#+SKM A/I-DQ(ZN)H(SR)H 1x4G6Printing:#+year (2003)
82 | Aerial/ADSS | A-D(T)H4Y 1X12E9/125 7,2 mm² | 294166 | 1260 | 12 | 15.12 | SMF | no printing
83 | Loose Tube | A-D0F(ZN)2Y12X12E9/125 | 294275 | 3986 | 144 | 573.984 | SMF | Customer: EWE, Germany Printing: EWE#S#+CORNING+#M+#H#S#+no. of length+ year(2004)
84 | Aerial/ADSS | A-D(T)H 1X12E9/125 7,2 mm² | 294294 | 4103 | 12 | 49.236 | SMF | Printing:##M#S#Corning#year(2004)#+FVE 1x12L
85 | Loose Tube | A-DQ2Y(ZN)2Y 5x12+1x4E9 | 294564 | 3788 | 64 | 242.432 | SMF | Printing: #M#+RENFE#CORNING#+Jahr(04)#+64#+MN#+PKP Customer: Renfe/Spain
86 | Loose Tube | A-DQ(ZN)(BN)2Y 4X4 | 294568 | 1712 | 16 | 27.392 | SMF | Printing: #M#+ONO#+CORNING#+KVP / 16 F.O.# Customer: ONO/Spain
87 | Central Tube | A-DQ(BN)H 1X16G50SX+/125 | 294598 | 999 | 16 | 15.984 | MMF | Printing:meter+twin-sine+ CORNING+FutureLink Laser-Optimized+ A-DQ(BN)H 1x16G50/125 Infinicor SX+ fibeFRNC 10GbE 300 meter at 850 nm
88 | Central Tube | A-DQ(BN)2Y 1X12G50L/125 | 294834 | 1550 | 12 | 18.6 | MMF | Printing:#M#H#S#CORNING#year#
89 | Loose tube | A-DQ(BN)H 4X12G50SX+/125 | 295035 | 1854 | 48 | 88.992 | MMF | Printing:meter+twin-sine+ CORNING+FutureLink LASER-OPTIMIZED+ A-DQ(BN)H 4x12G50/125 InfiniCor SX+ fibeFRNC 10GbE 300 meter at 850 nm
90 | Loose Tube | A-DQ(ZN)(SR)H 1X12E9 | 295087 | 3655 | 12 | 43.86 | SMF | Printing: #M#H#S#CORNING#year# Customer: Cosinor/Spain
91 | Loose tube | A-DF(ZN)(SR)2Y 4X12E10/125 | 297670 | 6327 | 48 | 303.696 | LEAF | Customer: Telecom Italia. Special printing
92 | Loose tube | A-DF(ZN)2Y 8X12E9 | 297679 | 4774 | 96 | 458.304 | SMF | Printing:##M#S#Corning#year(2004)##FO - 96/SM - DUCT- QXAE#155000040 Customer: General Cable Norge/Telenor Spec.
93 | CT / MiniXtend | A-D(ZN)2Y 1X24E9 | 297729 | 2000 | 24 | 48 | SMF | Printing:##M#S#Corning#year(2004)
94 | Central Tube | A-D(ZM)(SG)H 1X4G62,5L | 298012 | 2775 | 4 | 11.1 | MMF | Printing:#M#Optical Fiber 1x4 62,5/125#+Saab Rosemount#year(2004)#
95 | Loose tube | A-DSF(L)2Y(SR)2Y 4X4E9/125 | 298122 | 3357 | 16 | 53.712 | SMF | Printing: #M#H#S#CORNING#Year#ADCO ASAB GCS PROJECT#
96 | Aerial/Fig8 | A-DT2Y 1X8E9 | 298878 | 6074 | 4 | 24.296 | SMF | Printing:#M#CORNING#A-DT2Y 1x8 E9#CFR#M# Customer: CFR, Romania
97 | MPC Easy Access | A-DBQ(BN)2Y 1X(4X12)E9 | 299063 | 4291 | 48 | 205.968 | SMF | Printing: ? Customer: Lechwerke/Germany
98 | Loose tube | A-DQ2Y(ZN)(SR)2Y 6X16E9 | 299071 | 3878 | 96 | 372.288 | SMF | Printing: #M#+GIF#+#ALCATEL#+Jahr#+PKESP 96 O.F. G-652 Customer: Alcatel --> GIF/Renfe, Spain
99 | Loose tube | A-DQ2Y(ZN)(SR)2Y 12X8E9 | 299186 | 3947 | 96 | 378.912 | SMF | Printing: #M#96 FO#96 FO#CORNING#year#PKESP#96 FO#G652#MN#GIF Customer: GIF/Renfe, Spain
Items

## EMEA PN Indoor
81 |  | Total/Subtotal |  |  | 964622 |  | 2770.851
Item | Product Group | TypeCode | Market Sector | SAP no. | cable meter | AFC | cckm | Fiber | Comments
1 | Tight buffer | V-E9/125 TB GE | PN | 186176 | 2120 | 1 | 2.12 | SMF
2 | Tight buffer | V-E9/125 TB GN | PN | 188253 | 10697 | 1 | 10.697 | SMF
3 | Tight buffer | J-VY 2X1E9/125 0,38F3,5 + | PN | 188362 | 10598 | 2 | 21.196 | SMF | Printing:meter+(twin-sine+ "CORNING FutureLink"+J-VY 2x1E9/125 TB2 E160780 (UL) Type OFNR)
4 | Tight buffer | T-VYY 12E9/125 0,38F3,5 + | PN | 188687 | 3947 | 12 | 47.364 | SMF | Printing:meter+(twin-sine+ "CORNING FutureLink"+T-VYY 12E9/125 TB2 E160780 (UL) Type OFNR) x 2
5 | Tight buffer | V-E9/125 TB GN | PN | 192293 | 2198 | 1 | 2.198 | SMF | Printing:meter+(twin-sine+ "CORNING FutureLink"+T-VYY 12E9/125 TB2 E160780 (UL) Type OFNR) x 2
6 | Tight buffer | V-E9/125 TB BL | PN | 192295 | 1190 | 1 | 1.19 | SMF | Printing:meter+(twin-sine+ "CORNING FutureLink"+T-VYY 12E9/125 TB2 E160780 (UL) Type OFNR) x 2
7 | Tight buffer | V-E9/125 TB GE | PN | 192296 | 22740 | 1 | 22.74 | SMF | Printing:meter+(twin-sine+ "CORNING FutureLink"+T-VYY 12E9/125 TB2 E160780 (UL) Type OFNR) x 2
8 | Tight buffer | V-E9/125 TB GR | PN | 192298 | 1030 | 1 | 1.03 | SMF | Printing:meter+(twin-sine+ "CORNING FutureLink"+T-VYY 12E9/125 TB2 E160780 (UL) Type OFNR) x 2
9 | Tight buffer | J-VH 4G50/125 2,7B600 + | PN | 192419 | 2384 | 4 | 9.536 | G50 | Printing:meter+(twin-sine+ "CORNING FutureLink"+ J-VH 4G50/125 TB3 FRNC) x 2
10 | Tight buffer | J-HH 1... F OR | PN | 193369 | 1575 | 1 | 1.575 |  | Printing:meter+(twin-sine+ "CORNING FutureLink"+ J-VH 4G50/125 TB3 FRNC) x 2
11 | Tight buffer | J-VH 12G50SX/125 2,8B2000 | PN | 194550 | 902 | 12 | 10.824 | SX+ | Printing: meter+(twin-sine+ Printing: "CORNING"+J-VH 12G50/125 TB3 FRNC
12 | Tight buffer | S-VH 1E9/125 0,40F5 + | PN | 194641 | 7760 | 1 | 7.76 | SMF | Kunde: PN/Diamond
13 | Tight buffer | J-VH 2E9/125 0,38F3,5 + 0 | PN | 194860 | 892 | 2 | 1.784 | SMF | Printing:meter+(twin-sine+ CORNING+FutureLink+ J-VH 2E9/125 TB3 FRNC) 1 mal pro meter
14 | Tight buffer | J-VH 8E9/125 0,38F3,5 + | PN | 194867 | 1490 | 8 | 11.92 | SMF | Printing:meter+(twin-sine+ CORNING+FutureLink+ J-VH 8E9/125 TB3 FRNC) 1 mal pro meter
15 | Tight buffer | J-VH 16E9/125 0,38F3,5 + | PN | 194885 | 1743 | 16 | 27.888 | SMF | Printing:meter+(twin-sine+ CORNING+FutureLink+ J-VH 16E9/125 TB3 FRNC) 1 mal pro meter
16 | Tight buffer | J-VH 1E9/125 0,38F3,5 + | PN | 194889 | 1075 | 1 | 1.075 | SMF | Printing:meter+(twin-sine+ CORNING+FutureLink + J-VH 1E9/125 TB3 FRNC) 1 x pro meter
17 | Tight buffer | J-VH 2X1E9/125 0,38F3,5 + | PN | 194892 | 19400 | 2 | 38.8 | SMF | Printing:meter+(twin-sine+ CORNING+FutureLink + J-VH 2x1E9/125 TB3 FRNC) 1 x pro meter
18 | Tight buffer | J-VH 4G50/125 2,7B400 + | PN | 194900 | 3649 | 4 | 14.596 | G50 | Printing:meter+(twin-sine+ "CORNING FutureLink"+ J-VH 4G50/125 TB3 FRNC) x 2
19 | Tight buffer | J-VH 12G50/125 2,7B400+0, | PN | 194913 | 2050 | 12 | 24.6 | G50 | Printing:meter+(twin-sine+ "CORNING FutureLink"+ J-VH 12G50/125 TB3 FRNC) x 2
20 | Tight buffer | J-VH 1G50/125 2,7B400 + | PN | 194926 | 5280 | 1 | 5.28 | G50 | Printing:meter+(twin-sine+ "CORNING FutureLink"+ J-VH 1G50/125 TB3 FRNC) x 2
21 | Tight buffer | J-VH 2X1G50/125 2,7B400 + | PN | 194927 | 1986 | 2 | 3.972 | G50 | Printing:meter+(twin-sine+ "CORNING FutureLink"+ J-VH 2x1G50/125 TB3 FRNC) x 1
22 | Tight buffer | T-VHH 2G50/125 2,7B400 + | PN | 194993 | 1147 | 2 | 2.294 | G50 | Printing:meter+(twin-sine+ "CORNING FutureLink"+T-VHH 2G50/125 TB3 FRNC)
23 | Tight buffer | T-VHH 4G50/125 2,7B400 + | PN | 194994 | 4108 | 4 | 16.432 | G50 | Printing:meter+(twin-sine+ "CORNING FutureLink"+T-VHH 4G50/125 TB3 FRNC)
24 | Tight buffer | T-VHH 8G50/125 2,7B400 + | PN | 194996 | 7409 | 8 | 59.272 | G50 | Printing:meter+(twin-sine+ "CORNING FutureLink"+ T-VHH 8G50/125 TB3 FRNC)
25 | Tight buffer | J-VH 2X1G50/125 2,7B40 | PN | 195104 | 8126 | 2 | 16.252 | G50 | Printing:meter+(twin-sine+ "CORNING FutureLink"+ J-VH 2x1G50/125 TB3R FRNC) x 2
26 | Tight buffer | J-VH 2X1E9/125 | PN | 195106 | 31058 | 2 | 62.116 | SMF | Printing:meter+(twin-sine+ CORNING+FutureLink + J-VH 2x1E9/125 TB3R FRNC) 1 x pro meter
27 | Tight buffer | V-E9/125 TB GE | PN | 195154 | 57800 | 1 | 57.8 | SMF | Printing:meter+(twin-sine+ CORNING+FutureLink + J-VH 2x1E9/125 TB3R FRNC) 1 x pro meter
28 | Tight buffer | AT-VQH(BN)H 4G62,5L/125 3 | PN | 196170 | 155 | 4 | 0.62 | I300 | Printing:meter+(twin-sine+ "CORNING Fiber Optic Cable"+J-VY 1E9/125 TB2 E160780 (UL) Type OFNR) Kunde: Anixter Hong Kong
29 | Tight buffer | J-VH 1E9/125 0,38F3,5 + | PN | 196193 | 20820 | 1 | 20.82 | SMF | Printing:meter+(twin-sine+ CORNING+FutureLink + J-VH 1E9/125 TB3 FRNC) 1 x pro meter
30 | Tight buffer | J-VH 2X1 E9/125 | PN | 196194 | 24180 | 2 | 48.36 | SMF | Printing:meter+(twin-sine+ CORNING+FutureLink + J-VH 2x1E9/125 TB3 FRNC) 1 x pro meter
31 | Tight buffer | J-VH 12G50L/125 2,7B500 + | PN | 198106 | 4040 | 12 | 48.48 | I600 | Printing:meter+(twin-sine+ CORNING+FutureLink Laser-Optimized+ J-VH 12G50/125 InfiniCor 600 fiber TB3 FGbE 600/600 meter at 850/1300 nm) 1 x pr
32 | Tight buffer | J-VH 24G50L/125 2,7B500 + | PN | 198108 | 198 | 24 | 4.752 | I600 | Printing:meter+(twin-sine+ CORNING+FutureLink Laser-Optimized+ J-VH 24G50/125 InfiniCor 600 fiber TB3 FGbE 600/600 meter at 850/1300 nm) 1 x pr
33 | Tight buffer | J-VH 4G62,5L/125 3,1B200 | PN | 198110 | 7385 | 4 | 29.54 | I300 | Printing:meter+(twin-sine+ CORNING+FutureLink Laser-Optimized+ J-VH 4G62,5/125 InfiniCor 300 fiber TB3 GbE 300/550 meter at 850/1300 nm) 1 x pr
34 | Tight buffer | J-VH 2G50L/125 2,7B500 + | PN | 198143 | 3242 | 2 | 6.484 | I600 | Printing:meter+(twin-sine+ CORNING+FutureLink Laser-Optimized+ J-VH 2G50/125 InfiniCor 600 fiber TB3 FRGbE 600/600 meter at 850/1300 nm) 1 x pr
35 | Tight buffer | J-VH 4G50L/125 2,7B500 + | PN | 198146 | 7322 | 4 | 29.288 | I600 | Printing:meter+(twin-sine+ CORNING+FutureLink Laser-Optimized+ J-VH 4G50/125 InfiniCor 600 fiber TB3 FRGbE 600/600 meter at 850/1300 nm) 1 x pr
36 | Tight buffer | J-VH 6G62,5L/125 3,1B200 | PN | 198181 | 4552 | 6 | 27.312 | I300 | Printing:meter+(twin-sine+ CORNING+FutureLink Laser-Optimized+ J-VH 6G62,5/125 InfiniCor 300 fiber TB3 GbE 300/550 meter at 850/1300 nm) 1 x pr
37 | Tight buffer | J-VH 12G62,5L/125 3,1B200 | PN | 198183 | 6895 | 12 | 82.74 | I300 | Printing:meter+(twin-sine+ CORNING+FutureLink Laser-Optimized+ J-VH 12G62,5/125 InfiniCor 300 fiber TB3GbE 300/550 meter at 850/1300 nm) 1 x pr
38 | Tight buffer | J-VH 24G62,5L/125 3,1B200 | PN | 198185 | 4559 | 24 | 109.416 | I300 | Printing:meter+(twin-sine+ CORNING+FutureLink Laser-Optimized+ J-VH 24G62,5/125 InfiniCor 300 fiber TB3GbE 300/550 meter at 850/1300 nm) 1 x pr
39 | Tight buffer | T-VHH 2G50L/125 2,7B500 + | PN | 198186 | 7789 | 2 | 15.578 | I600 | Printing:meter+twin-sine+ CORNING+FutureLink Laser-Optimized+ T-VHH 2G50/125 InfiniCor 600 fiber TB3 FGbE 600/600 meter at 850/1300 nm
40 | Tight buffer | T-VHH 4G50L/125 2,7B500 + | PN | 198187 | 11497 | 4 | 45.988 | I600 | Printing:meter+twin-sine+ CORNING+FutureLink Laser-Optimized+ T-VHH 4G50/125 InfiniCor 600 fiber TB3 FGbE 600/600 meter at 850/1300 nm
41 | Tight buffer | T-VHH 8G50L/125 2,7B500 + | PN | 198189 | 1513 | 8 | 12.104 | I600 | Printing:meter+twin-sine+ CORNING+FutureLink Laser-Optimized+ T-VHH 8G50/125 InfiniCor 600 fiber TB3 FGbE 600/600 meter at 850/1300 nm
42 | Tight buffer | T-VHH 12G50L/125 2,7B500 | PN | 198190 | 1566 | 12 | 18.792 | I600 | Printing:meter+twin-sine+ CORNING+FutureLink Laser-Optimized+ T-VHH 12G50/125 InfiniCor 600 fiber TB3 GbE 600/600 meter at 850/1300 nm
43 | Tight buffer | T-VHH 2G62,5L/125 3,1B200 | PN | 198206 | 12740 | 2 | 25.48 | I300 | Printing:meter+Dopp
44 | Tight buffer | T-VHH 4G62,5L/125 3,1B200 | PN | 198208 | 10507 | 4 | 42.028 | I300 | Printing:meter+twin-sine+ CORNING+FutureLink Laser-Optimized+ T-VHH 4G62,5/125 InfiniCor 300 fiber TB3GbE 300/550 meter at 850/1300 nm
45 | Tight buffer | T-VHH 8G62,5L/125 3,1B200 | PN | 198210 | 415 | 8 | 3.32 | I300 | Printing:meter+twin-sine+ CORNING+FutureLink Laser-Optimized+ T-VHH 8G62,5/125 InfiniCor 300 fiber TB3GbE 300/550 meter at 850/1300 nm
46 | Tight buffer | J-VH 2X1G50L/125 2,7B500 | PN | 198644 | 70412 | 2 | 140.824 | I600 | Printing:meter+(twin-sine+ CORNING+FutureLink Laser-Optimized+ J-VH 2x1G50/125 InfiniCor 600 fiber TB3 GbE 600/600 meter at 850/1300 nm) 1 x pr
47 | Tight buffer | J-VH 1G62,5L/125 3,1B200 | PN | 198707 | 21179 | 1 | 21.179 | I300 | Printing:meter+(twin-sine+ CORNING+FutureLink Laser-Optimized+ J-VH 1G62,5/125 InfiniCor 300 fiber TB3 GbE 300/550 meter at 850/1300 nm) x 1
48 | Tight buffer | J-VH 2X1G62,5L/125 3,1B20 | PN | 198751 | 20095 | 2 | 40.19 | I300 | Printing:meter+(twin-sine+ CORNING+FutureLink Laser-Optimized+ J-VH 2x1G62,5/125 InfiniCor 300 fiber TBGbE 300/550 meter at 850/1300 nm) 1 x pr
49 | Tight buffer | V-G50L/125 B500+F500 TB G | PN | 198763 | 77400 | 1 | 77.4 | I600 | Printing:meter+(twin-sine+ CORNING+FutureLink Laser-Optimized+ J-VH 2x1G62,5/125 InfiniCor 300 fiber TBGbE 300/550 meter at 850/1300 nm) 1 x pr
50 | Tight buffer | V-G62,5L/125 TB BL | PN | 198764 | 39944 | 1 | 39.944 | I300 | Printing:meter+(twin-sine+ CORNING+FutureLink Laser-Optimized+ J-VH 2x1G62,5/125 InfiniCor 300 fiber TBGbE 300/550 meter at 850/1300 nm) 1 x pr
51 | Tight buffer | J-VH 2X1G50L/125 2,7B50 | PN | 198769 | 29505 | 2 | 59.01 | I600 | Printing:meter+(twin-sine+ CORNING+FutureLink Laser-Optimized+ J-VH 2x1G50/125 InfiniCor 600 fiber TB3RGbE 600/600 meter at 850/1300 nm) 1 x pr
52 | Tight buffer | J-VH 2X1G62,5L/125 3,1B20 | PN | 198770 | 12118 | 2 | 24.236 | I300 | Printing:meter+(twin-sine+ CORNING+FutureLink Laser-Optimized+ J-VH 2x1G62,5/125 InfiniCor 300 fiber TBGbE 300/550 meter at 850/1300 nm) 1 x pr
53 | Central tube | J-DH 1X6G62,5L/125 | PN | 198821 | 3857 | 6 | 23.142 | I300 | Printing:meter+(twin-sine+ CORNING+FutureLink+Laser-Optimized+ J-DH 1x6G62,5/125 InfiniCor 300 fiber GbE 300/550 meter at 850/1300 nm) x 1
54 | Tight buffer | A-VB(BN)H 1X24G62,5L/125 | PN | 198854 | 1032 | 24 | 24.768 | I300 | Printing:meter+(twin-sine+ CORNING+FutureLink/MPC Laser-Optimized+ A-VB(BN)H 1x24G62,5/125 InfiniCor 300 fiGbE 300/550 meter at 850/1300 nm) x 1
55 | Tight buffer | V-G50L/125 TB3 BR | PN | 201309 | 810 | 1 | 0.81 | I600 | Printing:meter+(twin-sine+ CORNING+FutureLink/MPC Laser-Optimized+ A-VB(BN)H 1x24G62,5/125 InfiniCor 300 fiGbE 300/550 meter at 850/1300 nm) x 1
56 | Tight buffer | S-VH 1E9/125 0,40F5 + | PN | 201356 | 8094 | 1 | 8.094 | SMF | Printing:meter+(twin-sine+ CORNING+FutureLink/MPC Laser-Optimized+ A-VB(BN)H 1x24G62,5/125 InfiniCor 300 fiGbE 300/550 meter at 850/1300 nm) x 1
57 | Tight buffer | V-E9/125 TB3 RT | PN | 201404 | 4190 | 1 | 4.19 | SMF | Printing:meter+(twin-sine+ CORNING+FutureLink/MPC Laser-Optimized+ A-VB(BN)H 1x24G62,5/125 InfiniCor 300 fiGbE 300/550 meter at 850/1300 nm) x 1
58 | Tight buffer | V-E9/125 TB3 GE | PN | 202036 | 49850 | 1 | 49.85 | SMF | Printing:meter+(twin-sine+ CORNING+FutureLink/MPC Laser-Optimized+ A-VB(BN)H 1x24G62,5/125 InfiniCor 300 fiGbE 300/550 meter at 850/1300 nm) x 1
59 | Tight buffer | J-DQ(ZN)H 1X8E9/125 | PN | 202855 | 26021 | 8 | 208.168 | SMF | Printing:#M#+LaserSymbol#H#+C&W#+T 0506#+00Kunde: Cable & Wireless
60 | Tight buffer | V-E9/125 TB RT | PN | 250044 | 44660 | 1 | 44.66 | SMF | Printing:#M#+LaserSymbol#H#+C&W#+T 0506#+00Kunde: Cable & Wireless
61 | Tight buffer | J-VH 1E9/125 0,38F3,5 + | PN | 250048 | 7782 | 1 | 7.782 | SMF | Printing:meter+(twin-sine+ "CORNING FutureLink"+ J-VH 1E9/125 TB3 FRNC) x 1
62 | Tight buffer | J-VH 8E9/125 0,45F3,5 + | PN | 250413 | 2122 | 8 | 16.976 | SMF | Printing:meter+"PCCW 8F SM LSZH CORNING year"
63 | Tight buffer | J-VH 12E9/125 0,45F3,5 | PN | 250414 | 1735 | 12 | 20.82 | SMF | Printing:meter+"PCCW 12F SM LSZH CORNING year"
64 | Tight buffer | J-VH 1 E9/125 | PN | 280116 | 1735 | 1 | 1.735 | SMF | Printing:meter+"PCCW 12F SM LSZH CORNING year"
65 | Tight buffer | J-VH 12G50SX+/125 2,7B150 | PN | 281512 | 1458 | 12 | 17.496 | SX+ | Printing:meter +(twin-sine+ "CORNING FutureLink Laser-Optimized + J-VH 12G50/125 InfiniCor SX+ fiber TB3 F10GbE 300 meter at 850 nm"
66 | Tight buffer | J-VH 2X1G50SX+/125 2,7B15 | PN | 282939 | 10451 | 2 | 20.902 | SX+ | Printing:meter + twin-sine + "CORNING FutureLink Laser-Optimized + J-VH 2x1G50/125 InfiniCor SX+ fiber TB3 10GbE 300 meter at 850 nm"
67 | Tight buffer | J-VH 2X1G50SX+/125 2,7B15 | PN | 282972 | 2148 | 2 | 4.296 | SX+ | Printing:meter + twin-sine + "CORNING FutureLink Laser-Optimized + J-VH 2x1G50/125 InfiniCor SX300 fiber TB10GbE 300 meter at 850 nm"
68 | Tight buffer | J-VH 1E9/125 0,45F3,5 + | PN | 283132 | 29774 | 1 | 29.774 | SMF | Printing:meter+(twin-sine+ "CORNING FutureLink"+ J-VH 1E9/125 TB3 FRNC) x 2
69 | Tight buffer | J-VH 1E9/125 0,38F3,5 + | PN | 283803 | 6150 | 1 | 6.15 | SMF | Printing:LSZH 9/125 - MAINFRAME COMMUNICATILTD TEL +44 (0)1702 443800
70 | Tight buffer | J-VY 2X1E9/125 0,38F3,5 + | PN | 290824 | 45400 | 2 | 90.8 | SMF | Printing:meter+(twin-sine+ "CORNING FutureLink"+J-VY 2x1E9/125 TB2 E160780 (UL) Type OFNR)
71 | Tight buffer | J-VH 2X1G62,5L/125 3,1B20 | PN | 291532 | 750 | 2 | 1.5 | I300 | Printing:OPTICAL FIBER CABLE PLUS CORNING+month/year+62.5UM+FEET
72 | Tight buffer | J-VH 1E9/125 0,38F3,5 + | PN | 291731 | 2130 | 1 | 2.13 | SMF | Printing:meter+(twin-sine+ CORNING+FutureLink + J-VH 1E9/125 TB3 FRNC) 1 x pro meter
73 | Loose tube | J-D(ZN)H 2X12G50L/125 | PN | 291811 | 344 | 24 | 8.256 | I600 | Printing:meter+Hörer+twin-sine+ J-D(ZN)H 2x12G50/125
74 | Tight buffer | J-VHH 2G50L/125 2,7B600 + | PN | 292314 | 4447 | 2 | 8.894 | I600 | Printing:meter+Hörer+twin-sine+ J-VHH 2G50/125
75 | Tight buffer | J-VH 4G50L/125 2,7B600 + | PN | 294110 | 21949 | 4 | 87.796 | I600
76 | Tight buffer | J-VH 4G62,5L/125 3,1B200 | PN | 294111 | 22534 | 4 | 90.136 | I300
77 | Tight buffer | J-VH 2G50L/125 2,7B600 + | PN | 294112 | 14878 | 2 | 29.756 | I600
78 | Tight buffer | J-VH 6G62,5L/125 3,1B200 | PN | 294113 | 5329 | 6 | 31.974 | I300
79 | Tight buffer | J-VH 12G62,5L/125 3,1B200 | PN | 294114 | 19065 | 12 | 228.78 | I300 | Printing:meter+twin-sine+ CORNING+FutureLink Laser-Optimized+ J-VH 12G62,5/125 InfiniCor 300 fiber TB3GbE 300/550 meter at 850/1300 nm
80 | Tight buffer | J-VH 24E9/125 0,38F3,5+ | PN | 297986 | 9942 | 24 | 238.608 | SMF | Printing:meter+twin-sine+ CORNING+FutureLink+ J-VH 24E9/125 TB3 FRNC
81 | Tight buffer | T-VHH 4G62,5L/125 3,1B200 | PN | 298104 | 1603 | 4 | 6.412 | I300 | Printing:meter+twin-sine+ CORNING+FutureLink Laser-Optimized+ T-VHH 4G62,5/125 InfiniCor 300 fiber TB3GbE 300/550 meter at 850/1300 nm
Items