Anritsu MF76A Microwave Frequency Counter

Burst Signal
Offset function
Wide FM tolerance
Front-panel diagnost
Wide dynamic

### Performance Characteristics of the MF76A

| Form Factor | Benchtop |
| --- | --- |
| Number of Channels | 2 ch |
| Minimum Frequency, Ch. 1 | 10 Hz |
| Maximum Frequency, Ch. 1 | 200 MHz |
| Sensitivity, Channel 1 | 50 mV |
| Maximum Input Voltage, Ch. 1 | 10 V |
| Input Impedance, Ch.1 | 1 MOhm |
| Input Coupling, Ch 1 | AC |
| Minimum Frequency, Ch. 2 | 0.2 GHz |
| Maximum Frequency, Ch. 2 | 18 GHz |
| Sensitivity, Channel 2 | 39.7635364383525 mV |
| Input Impedance, Ch. 2 | 50 Ohm |
| Input Coupling, Ch 2 | DC |
| Time base stability | 0.02 /yr |
| Measurement Throughput | 20 ms |

### Programmability/Connectivity of the MF76A

| User Interface | Proprietary |
| --- | --- |
| Ports to Peripheral Devices | GPIB |

### MF76A Life Cycle Data

| Out of Production | Jan-01-2005 |
| --- | --- |

### MF76A Compliance

| CE Compliance | Not on file |
| --- | --- |
| UL Compliance | Not compliant |

### MF76A Power Requirements

| Input Power | USA (110V/60Hz) |
| --- | --- |

### MF76A Physical Dimensions

- Width: (N/A)

- Height: 133 mm(5.23 in)

- Length: 351 mm(13.81 in)

- Weight: 12 kg(26.45 lb)

### More Anritsu savings

Anritsu MF76A Features

Number of Channels 2 ch Minimum Frequency, Ch. 1 - 10 Hz Maximum Frequency, Ch. 1 - 200 MHz Sensitivity, Channel 1 - 50 mV Minimum Frequency, Ch. 2 -0.2 GHz Maximum Frequency, Ch. 2 - 18 GHz Time base stability 0.02 /yr Measurement Throughput 20 m Burst signal measurement Offset function Wide FM tolerance Front panel diagnostics